- А.С.Волков,В.Н.Кузьмин

- Спектрофотометрический прибор для контроля яркости и

- колометрических характеристик киноэкранов и дисплеев                                стр.8

- Аннотация

- В статье рассмотрены колориметры интегрального и спектрального типа для измерения цветовых и яркостных характеристик средств отображения информации. Приведены их принципиальные оптические схемы. Показаны преимущества и недостатки каждой из них. Предложен новый тип колориметра на основе прозрачной дифракционной решётки, позволяющий измерять характеристики элементарного излучающего объекта монитора и киноэкрана.

- Ключевые слова: спектроколориметр, яркость.

- The Spektrophotometric device for control of luminance and colorimetric characteristics of screens and displays

- Abstract

- The article examines colorimeters of integrated and spectral type for measurement of color and luminance characteristics of information display facilities. There are mentioned the principal optical charts, their advantages and disadvantages. There is presented a new type of a transparent diffraction grid colorimeter, providing to measure elementary characteristics of an illuminating monitor and cinema screen object.

- Keywords: Spectrocolorimeter, Luminance.тр.46