- Г.В. Тихомирова, И.В. Газеева, А.М. Спичихин, К.К. Гудинов

- Система автоматического контроля поверхностного износа киноленты....

- Аннотация

- Разработана система автоматического контроля дефектов поверхности киноленты, работа которой основана на сканировании изображения отдельно от сюжета. Показаны области использования этой системы. Приведено математическое обоснование для расчёта параметров сканирования: разрешение сенсора, временная частота считывания данных при линейном сканировании, время выдержки электронного затвора и частота съёмки при сканировании матричным сенсором непрерывно движущегося носителя. Определено значение минимальной ширины царапин на киноленте, которые ещё улавливаются глазом в условиях кинопроекции. Рассчитаны параметры сканирования систем автоматического контроля, позволяющие идентифицировать указанные царапины в оцифрованном изображении. Определены камеры машинного видения, удовлетворяющие этим параметрам.

- Ключевые слова: техническое состояние фильмокопий, автоматический контроль, параметры сканирования, разрешение, частота сканирования, непрерывное транспортирование киноленты.

- Abstract

- The system for automatic control of defects in the surface film is developed. This system is based on scanning defects separately from the plot image. Areas of use of this system are shown. The mathematical foundation for calculating the parameters of scanning are given: the sensors resolution, the frequency of data read-out at line scanning and exposure time, frequency shoot for a matrix scanning continuously moving film. Value of the minimum width of scratches on the film which are still caught by an eye in the conditions of a film projection is defined. On this basis scanning parameters of the systems for automatic control are calculated. This systems can embedded in a film projector and rewinder for the identification of these scratches on digital image. Cameras of the machine vision, satisfying to these parameters are found.

- Keywords: wear (scratches), film surface, automatic control, scanning resolution, scanning frequency, continuously moving film.